1. basic picture and control panel:

operating panel

The functions of the control unit are

divided in four groups:

- six-digit LED display

- buttons for changing the parameters

and the indicator mode

- signal lamps

- buttons for hand operating

2. indicate:

basic picture

High-speed menu mode

complete parameters

3. operation:

- through press the button you arrives into the high-speed menu mode

see fig.1

- through simultaneous pressing

these both buttons

and   you have entrance to all parameters

see fig.2

- to change parameters press this button

- always confirm after change of a value with this button

fig.1

fig.2